YRR EO & WO facility inspections – end winter 2026 matters requiring further attention

Eastern Oval
Timekeepers 
Clean stairwell including removal of marks / cobwebs, etc mopping of stairs
Sweep and mop timekeepers room inc architraves wipe down

Kitchen / multipurpose room
Carpet steam clean required

Western Oval
Social rooms
Remove tape and blue tack from ceiling tiles
Reinstall pulldown blind to bar surgery & remove fingerprint material
Repair projection screen pulldown cord

Multipurpose room 
Clean marks off walls 
Check split system filter clean

Netball change and shower
Clean marks off walls
Repair toilet fluorescent light diffuser
Replace down light globe above hand basin

Kitchen
Remove cobwebs and check for marks on painted  wall surfaces (remove)
Replace handle on deep fryer
Ensure storage of chemicals are above bench height (remove from below sink)
Clean ovens, including door glass

Passage
Clean empty freezers (internal)

Toilets
F – remove grass debris and bird droppings
M – clean rear of entry door / URGENT repair hole in ceiling above men’s urinal (broken asbestos) / wipe down around window frames / remove fingerprint material

Office
Clean required including steam cleaning of carpet

Change rooms
Address carpet trip hazards
Visitors trainers room – pressure clean floor
Football office – general tidy and some cleaning to architraves etc
Football storeroom - general tidy and some cleaning
Home trainers room – clean in and around sink area

Playground / barbecue area
Pressure clean  barbecue rotunda and seating, include path to barbecue
Mow all areas / poison edges etc

