YRR EO & WO facility inspections – end winter 2026 matters requiring further attention

Eastern Oval

Timekeepers

Clean stairwell including removal of marks / cobwebs, etc mopping of stairs

Sweep and mop timekeepers room inc architraves wipe down

Kitchen / multipurpose room

Carpet steam clean required

Western Oval

Social rooms

Remove tape and blue tack from ceiling tiles

Reinstall pulldown blind to bar surgery & remove fingerprint material

Repair projection screen pulldown cord

Multipurpose room

Clean marks off walls

Check split system filter clean

Netball change and shower

Clean marks off walls

Repair toilet fluorescent light diffuser

Replace down light globe above hand basin

Kitchen

Remove cobwebs and check for marks on painted  wall surfaces (remove)

Replace handle on deep fryer

Ensure storage of chemicals are above bench height (remove from below sink)
Clean ovens, including door glass

Passage

Clean empty freezers (internal)

Toilets
F – remove grass debris and bird droppings

M – clean rear of entry door / URGENT repair hole in ceiling above men’s urinal (broken asbestos) / wipe down around window frames / remove fingerprint material

Office

Clean required including steam cleaning of carpet

Change rooms

Address carpet trip hazards

Visitors trainers room – pressure clean floor

Football office – general tidy and some cleaning to architraves etc

Football storeroom - general tidy and some cleaning

Home trainers room – clean in and around sink area

Playground / barbecue area

Pressure clean  barbecue rotunda and seating, include path to barbecue

Mow all areas / poison edges etc